# Scope of Delivery

for delivery of the GENSET 4500 or 4300

based on the MWM TCG 2032 V16 (B) 50Hz gas engine

Schematic Process Flow Chart

Scope of supply

Overview

| Number | Title |
| --- | --- |
| Genset |  |
| Engine Parts |  |
| 1 | Engine configuration |
| 1 | Basic parts |
| 1 | Exhaust gas system |
| 1 | Exhaust expansion joint |
| 1 | Exhaust turbo charger |
| 1 | Cooling system |
| 1 | Torsional vibration damper |
| 1 | Fly wheel |
| 1 | Starter equipment |
| 1 | Engine Mounting |
| 1 | Speed and load regulation |
| 1 | Ignition device |
| 1 | Gas mixer |
| 1 | TEM Engine monitoring and control |
| 1 | Primer and Topcoat Engine - Primer |
| 1 | Conservation |
| 1 | without spare parts for commissioning |
| Mixtrure Piping |  |
| 1 | Gas mixture pipe without compressor cooling |
| Lubrication System |  |
| 1 | Lube oil system |
| Genset Parts |  |
| 1 | Genset defintion |
| 1 | Generator - Marelli MJH 800 MC6 / TDPS TD 145 |
| 1 | Base frame without integrated oil tank |
| 1 | Elastic genset mounting |
| 1 | Elastic coupling |
| 1 | Fasteners |
| 1 | Crankcase ventilation |
| 1 | Piping (plain bearing) |
| 1 | Coolant preheat V |
| 1 | Coolant expansion joints water / oil |
| 1 | Pre Lubrication Genset - 400 / 690 / 460 V |
| 1 | Additional parts for lubrication system 230 V |
| 1 | Air filter, lateral air supply, with console |
| 1 | Caps for gas connection |

| 1 | Compressed air control train |
| --- | --- |
| Primer and Topcoat for Genset |  |
| 1 | Primer and Topcoat for Genset - RAL 5010, gentian blue |
| Spare Paint |  |
| 1 | Repair Paint - RAL 5010, gentian blue |
| Name Plates for Complete Engine |  |
| 1 | Labeling of the genset - English (US) |
| Genset Test |  |
| 1 | Genset acceptance test without customer participation |
| Packing for Complete Genset |  |
| 1 | Packing suitable for overland transport for genset: foil cover |
| Fuel System |  |
| Zero-Pressure Gas Control Train |  |
| Gas Train |  |
| 1 | Gas train DN 125/125 - with seal monitoring unit |
| Connecting Accessories for Zero Pressure Train |  |
| 1 | Compensator for gasconnection |
| Heating System |  |
| Engine Cooling Circuit |  |
| Lube Oil Heat Exchanger |  |
| 1 | Lube oil heat exchanger |
| 1 | Counter flange DN 100 - steel/stainless steel |
| Sensors and Accessories |  |
| 1 | Gas and dirt separator DN 125 |
| 1 | Counter Flange Set DN 125 - Set of 2 |
| Exhaust Gas System |  |
| Sensors |  |
| 1 | Exhaust back pressure sensor |
| Electrical System |  |
| Genset Management (TEM) |  |
| Base System |  |
| 1 | TEM - Basic Cabinet (ST32-F) |
| 1 | TEM packaging in wooden crate (VER) |
| Power Plant Control System |  |
| 1 | Heat utilization with heating circuit (HK2) |
| 1 | Radiator controler (TKS1) |
| 1 | Acknowledgment of external monitoring (QEÜ) |
| 1 | Cabin air regulation (RL1) |
| 1 | Demand of external starting preparations (AES) |
| 1 | Handling of mains failure (NA) |
| 1 | Dump cooling and exhaust bypass control (NK/BY) |

| Parameterizable Input/Output |  |
| --- | --- |
| 1 | 2 parameterizable measurements (2MW) |
| 1 | 1 parameterizable control circuit (1PR) |
| Interface |  |
| 1 | Analog speed setting (ASD) |
| 1 | Remote Engine Management |
| Hardware |  |
| 1 | I/O Controller (IOC) (included in Base system) |
| 1 | Operating terminal (BRT) |
| 1 | wall switch cabinet, Height 1200mm door hinge right (AE0R) |
| 1 | Console (KBW) |
| 1 | TEM connecting cable set 8m (K32ARM) |
| Packing |  |
| Plant Components |  |
| 1 | Packing plant components |
| Documentation |  |
| Documentation First language |  |
| 1 | Documentation first language - standard documentation |
| 1 | Data volume copy |
| Documentation |  |
| 1 | Standard documentation incl. TEM documentation |